MODELING OF MARINE SYSTEMS AND PROCESSES AIMED AT OPTIMAL SHIP HANDLING

Enco Tireli(a) , Josko Dvornik(b) , Srđan Dvornik(b)

(a)University of Rijeka

Faculty of Maritime Studies

Studentska ulica 2

51 000 Rijeka

+385 51 338 411

(b)University of Split

Faculty of Maritime Studies

Zrinsko-frankopanska 38

21 000 Split

+385 21 380 762

(a) tirelli@pfri.hr, (b)josko@pfst.hr, (b)sdvornik@pfst.hr

ABSTRACT

The aim of this paper is to demonstrate the successful application of system dynamic simulation modelling at investigating performance dynamics of the marine steam turbine in load conditions, in the example of load of marine synchronous generator. Marine steam turbine at the load of synchronous generator is a complex non-linear system, which needs to be systematically investigated as a unit consisting of a number of subsystems and elements, which are linked by cause-effect (UPV) feedback loops (KPD), both within the propulsion system and with the relevant surrounding. Marine steam turbine will be presented by a set of non-linear differential equations, after which mental-verbal structural models and flowcharts in System dynamics symbols [1 and 2] will be produced, and the performance dynamics in load condition will be simulated in DYNAMO simulation language.

The results presented in the paper have been derived from the scientific research project „SHIPBOARD  ENERGY  SYSTEMS,

ALTERNATIVE FUEL OILS AND REDUCTION OF POLLUTANTS EMISION“ supported by the Ministry of Science, Education and Sports of the Republic of Croatia.

Keywords: steam turbine, synchronous generator, simulation modelling, simulation

1.   SIMULATION MODELLING OF MARINE      STEAM TURBINE

1.1. Mathematical model of marine steam

turbine

Figure 1. shows (according to [5]) a model of marine steam turbine machinery which drives electric synchronous generator.

In the presented case there are two essential situations of ability of energy accumulation:

1. in steam volume (steam area, steam

volume of the turbine) and

2. in the turbine rotor,

while the main condenser is observed as a special governing object.

Each of the stated parts is described by its mode equation, that is, by the differential equation which describes the performance dynamics.

Figure 1: Steam Condensation Machinery of the Marine Turbine Generator

1- governing valve, 2- turbine, 3- reduction gear,

4- generator, 5- condenser

System dynamic mathematical model of the marine steam turbine is defined by means of explicit form of differential equation, or terms, [5]:

Equation of the turbine steam volume

(1)

Equation of the turbine rotor dynamics

(2)

Where the following symbols stand for:

-    relative increment of the steam pressure in

the steam volume,

-    relative increment of the turbine rotor

angular velocity,

-   time constant of the turbine rotor,

-   time constant of the turbine rotor,

-   time constant of the steam volume,

-  time constant of the steam volume,

-    relative increment of the steam pressure

before the manoeuvring valve,

-  time constant of the turbine rotor,

- relative change of the position of the manoeuvring valve,

-     relative increment of the steam pressure in the main condenser,

-    time constant of the boiler.

1.2.   System dynamic mental-verbal model of

marine steam turbine

On the basis of a mathematical model, or the explicit form of the mode equation of the marine steam turbine (1) it is possible to determine the mental-verbal model of the marine steam turbine:

- If the relative increment of the steam pressure in the turbine steam volume ψ1 increases the speed of the relative increment of the steam pressure in the turbine steam volume ψ1 will decrease, which gives a negative cause-effect link (-).

- If the relative increment of the steam pressure before the manoeuvring valve ψo increases the speed of the relative increment of the steam pressure in the turbine steam volume will increase, which gives a positive cause-effect link (+).

- If the relative change of the position of the manoeuvring valve μ increases the speed of the relative increment of the steam pressure in the turbine steam volume will increase, which gives a positive cause-effect link (+).

- If the time constant of the steam volume Rμ increases the speed of the relative increment of the steam pressure in the turbine steam volume will decrease, which gives a negative cause-effect link (-).

- If the time constant of the turbine rotor Rμ0 increases the speed of the relative increment of the steam pressure in the turbine steam volume will decrease, which gives a negative cause-effect link (-).

- If the time constant of the steam volume Rμ1 increases the speed of the relative increment of the steam pressure in the turbine steam volume will increase, which gives a positive cause-effect link (+).

On the basis of the mathematical model, or the explicit form of the mode equation of the marine steam turbine (2) it is possible to determine the mental-verbal model of marine steam turbine:

- If the relative increment of the steam pressure in the steam volume ψ1 increases the speed of the relative increment of the turbine rotor angular velocity will increase, which gives a positive cause-effect link (+).

- If the relative increment of the turbine rotor angular velocity φ increases the speed of the relative increment of the turbine rotor angular velocity will decrease, which gives a negative cause-effect link (-).

- If the relative increment of the steam pressure in the main condenser ψ2 increases the speed of the relative increment of the turbine rotor angular velocity will decrease, which gives a negative cause-effect link (-).

- If the time constant of the turbine rotor Tψ1 increases the speed of the relative increment of the turbine rotor angular velocity will decrease, which gives a negative cause-effect link (-).

- If the time constant of the turbine rotor Tφ increases the speed of the relative increment of the turbine rotor angular velocity will increase, which gives a positive cause-effect link (+).

- If the time constant of the turbine rotor Tψ1 increases the speed of the relative increment of the turbine rotor angular velocity will decrease, which gives a negative cause-effect link (-).

- If the time constant of the turbine rotor  Tψ2 increases the speed of the relative increment of the turbine rotor angular velocity will increase, which gives a positive cause-effect link (+).

1.3. System dynamic structural model of the

marine steam turbine

On the basis of the stated mental-verbal models it is possible to produce structural diagrams of the marine steam turbine, as shown in Figures 2, 3 and 4.

Figure 2: Structural Model of the Steam Turbine

Steam Volume

In the observed system there is the feedback loop (KPD1).

KPD1(-):PSI1=>(-)DPSI1DT=>(+)DPSI1DT=>

(+)PSI1; which has self-regulating dynamic character (-), because the sum of negative signs is an odd number.

Figure 3: Structural Model of the Marine Steam Turbine – Rotor Dynamics

In the observed system there is the feedback loop (KPD2).

KPD2(-):FI=>(-)DFIDT=>(+)DFIDT=>(+)FI; which has self-regulating dynamic character (-), because the sum of negative signs is an odd number.

Figure 4: Global and Structural Model of the Marine Steam Turbine

1.4.  System dynamic flowcharts of the marine

steam turbine

Flowcharts shown in Figures 5, 6 and 7 are based on the produced mental-verbal and structural models.

Figure 5: Marine Steam Turbine Flowchart – Steam Volume

Figure 6: Marine Steam Turbine Flowchart – Rotor

Dynamics

Figure 7: Global Flowchart of the Marine Steam Turbine with built-in PID Governor

MACRO DYNAMO functions built in the simulation model of the marine steam turbine: CLIP, STEP, UNIREG

2.   QUANTITATIVE SIMULATION MODEL       OF THE MARINE STEAM TURBINE

Simulation model of the marine steam turbine in the DYNAMO simulation language:

MACRO SLOPE(X, DEL)

*

A SLOPE.K=(X.K-SMOOTH(X.K,DEL))/DT

*

MEND

* ................................

* UNIREG-PID REGULATOR:

*

MACRO UNIREG(X, KPP, KPI, KPD)

*

INTRN IBD, PREG, IREG, DREG

*

A PREG.K=KPP*X.K

*

L IBD.K=IBD.J+DT*X.J

*

N IBD=X

*

A IREG.K=KPI*IBD.K

*

A DREG.K=KPD*SLOPE (X.K, DT)

*

A UNIREG.K=PREG.K+IREG.K+DREG.K

*

MEND

*

R DPSI1DT.KL=(MI.K/RMI.K)+

(PSIO.K/RPSIO.K)-(PSI1.K/RPSI1.K)

*

L PSI1.K=PSI1.J+DT*DPSI1DT.JK

*

N PSI1=0

*

A MI.K=CLIP(STEP(.05,10)+STEP(.95,50)+

PIDFI.K,0,DELAY1(RE.K,2),1E-16)

*

A RMI.K=5

*

A PSIO.K=0

*

A RPSIO.K=5

*

A RPSI1.K=5

*

SAVE DPSI1DT, PSI1, MI, RMI, PSIO, RPSIO, RPSI1

*

R DFIDT.KL=(PSI1.K/TPSI1.K)-

(PSI2.K/TPSI2.K)-(FI.K/TFI.K)

*

L FI.K=FI.J+DT*DFIDT.JK

*

N FI=0

*

A TPSI1.K=5

*

A PSI2.K=0

*

A TPSI2.K=5

*

A TFI.K=.1+MEL.K

*

* UNIREG-PID REGULATOR INSTALLING:

*

A DISK.K=FIN.K-FI.K

*

A FIN.K=STEP (.05, 10) +STEP (.95, 50)

*

A PIDFI.K=CLIP (UNIREG (DISK.K, KPP, KPI, KPD), 0, TIME.K, 10)

*

C KPP=100

*

C KPI=0.1

*

C KPD=100

SAVE DISK, PIDFI, FIN

*

SAVE TPSI1, PSI2, TPSI2, FI, TFI

3.   INVESTIGATING PERFORMANCE

DYNAMICS OF THE MARINE STEAM

TURBINE IN LOAD CONDITIONS

After system dynamics qualitative and quantitative simulation models were produced, all possible operating modes of the system will be simulated in a laboratory, using one of the simulation packages, most frequently DYNAMO [2] or POWERSIM [4].    After the engineer, designer or a student have conducted a sufficient number of experiments, or scenarios, and an insight has been obtained about the performance dynamics of the system using the method of heuristic optimisation, optimisation of any parameters in the system may be performed, provided that the model is valid.

In the presented scenario the two phases of the momentum (starting) of the marine steam turbine will be presented, as well as connecting the marine synchronous generator in TIME = 100 seconds in the following way:

1.	The manoeuvring valve of the marine steam opens for 5% of the rated opening in TIME = 10 seconds. The lower RPM is maintained for 50 seconds (about 5% of the rated RPM or 500-600/min.) for even heating of turbine masses.

2.	In TIME = 50 seconds the manoeuvring (governing) valve opens to the rated opening (100%) MI=STEP (.05, 10) +STEP (.95, 50) and increases the marine steam turbine to the rated RPM.

In TIME = 10 seconds the relative increment of the steam pressure in steam volume is increasing (PSI1) and also the relative increment of the angular speed of the marine steam turbine rotor (FI).

3.	In TIME = 100 seconds a step load is made from 50% of the rated load, the same as in the previous scenario, and by adding stochastic load:

TFI.K=STEP (2.5,100)*(1-NOISE())

4.	Electronic PID governor has been installed, of parameters: KPP = 100, KPI= .1 and KPD = 100.

Graphic presentation of the simulation results:

Figure 8: Relative Increment of the Angular Speed of the Rotor FI

Figure 9: Relative Increment of the Steam Pressure in the Steam Volume PSI1

The results of the simulation show the real performance dynamics of the marine steam turbine, which at idle speed starts in at least two stages, and which gives sufficient time for all the parts to heat equally. This scenario may be used in heuristic optimisation of the PID governor coefficient. In fact, if the allowed criteria are reached, then in normal operating conditions the selected combination of PID governor will certainly be satisfactory. The scenario shows that when selecting the coefficient of the universal PID governor (KPP = 100, KPI = .1, KPD = 100), it will soon lead to stabilisation of the transition phase, within the limits of the rated speed deviation of the marine steam turbine rotor (approx. 4% of the rated RPM).

4.  CONCLUSION

System dynamics is a scientific method which allows simulation of the most complex systems. The method used in the presented example demonstrates a high quality of simulations of complex dynamic systems, and provides an opportunity to all interested students or engineers to apply the same method for modelling, optimising and simulating any scenario of the existing elements. Furthermore, the users of this method of simulating continuous models in digital computers have an opportunity to acquire new information in dynamic system performance. The method is also important because it does not only refer to computer modelling, but also clearly determines mental, structural and mathematical modelling of the elements of the system. This brief presentation gives to an expert all the necessary data and the opportunity to collect information about the system in fast and scientific method of investigation of a complex system.

REFERENCES

Forrester, Jay W.,1973/1971. Principles of Systems, MIT Press, Cambridge Massachusetts, USA..

Richardson, George P. and Aleksander L.,1981. Introduction to System Dynamics Modelling with Dynamo, MIT Press, Cambridge, Massachusetts, USA.

Munitic, A.,1989. Computer Simulation with Help of System Dynamics, Croatia, BIS Split, p. 297.

Byrknes, A. H., Run-Time User’s Guide and Reference Manual, Powersim 2.5, Powersim Corporation, Powersim AS, 12007 Sunrise Valley Drive, Reston Virginia  22091 USA..

Isakov, L.I., Kutljin, L.I.,1984. Kompleksnaja avtomatizacija sudovljlh dizeljnih i gazoturbinmljih ustanovok, Leningrad, Sudostreonnie.

Suprun, G.F.,1972. Sintezsistem elektroenergetiki sudov, Leningrad, Sudostroenie.

Hind, A.,1968. Automation in merchant marines, London.

Nalepin,R.A.,Demeenko,O.P,1975. Avtomatizacija sudovljih energetskih ustanovok, Leningrad, Sudostroennie.

Tireli, E., Dvornik, J.,  2006. Simulation Modelling Perfomance Dynamics of Ship Gas Turbine at the Load of the Ship Synchronous Generator. 4th International Workshop on Modeling, Simulatior, Verification and Validation of Enterprise Information Systems, pp. 157-161.May 23-24, Paphos (Cyprus).